## signal_descriptions_with_detail
signal_id | measurement_unit | type_id | plant | stage | machine_group | signal_name | description
8890 | MW | measurement (analog) | KSL | Mapragg | MG1 | active_power | Active power measurement
9620 |  | Bool | KSL | Mapragg | MG1 | ball_valve_closed | Ball valve position rotating body closed (true if valve is fully closed)
9619 |  | Bool | KSL | Mapragg | MG1 | ball_valve_open | Ball valve position rotating body open (true if valve is fully open)
11247 | % | measurement (analog) | KSL | Mapragg | MG1 | guide_vane_position | Guide vane position measurement
11333 | bar | measurement (analog) | KSL | Mapragg | MG1 | water_pressure_downstream | water pressure downstream of the turbine
11331 | bar | measurement (analog) | KSL | Mapragg | MG1 | water_pressure_upstream | water pressure upstram of the turbine
16769 | MW | measurement (analog) | KSL | Sarelli | MG1 | active_power | Active power measurement
15454 |  | Bool | KSL | Sarelli | MG1 | ball_valve_closed | Ball valve position rotating body closed (true if valve is fully closed)
15453 |  | Bool | KSL | Sarelli | MG1 | ball_valve_open | Ball valve position rotating body open (true if valve is fully open)
16679 | % | measurement (analog) | KSL | Sarelli | MG1 | guide_vane_position | Guide vane position measurement
14156 | bar | measurement (analog) | KSL | Sarelli | MG1 | water_pressure_downstream | water pressure downstream of the turbine
14154 | bar | measurement (analog) | KSL | Sarelli | MG1 | water_pressure_upstream | water pressure upstram of the turbine
26499 | MW | measurement (analog) | KSL | Mapragg | MG2 | active_power | Active power measurement
30654 |  | Bool | KSL | Mapragg | MG2 | ball_valve_closed | Ball valve position rotating body closed (true if valve is fully closed)
30653 |  | Bool | KSL | Mapragg | MG2 | ball_valve_open | Ball valve position rotating body open (true if valve is fully open)
29296 | % | measurement (analog) | KSL | Mapragg | MG2 | guide_vane_position | Guide vane position measurement
29388 | bar | measurement (analog) | KSL | Mapragg | MG2 | water_pressure_downstream | water pressure downstream of the turbine
29386 | bar | measurement (analog) | KSL | Mapragg | MG2 | water_pressure_upstream | water pressure upstram of the turbine
16796 | MW | measurement (analog) | KSL | Sarelli | MG2 | active_power | Active power measurement
24141 |  | Bool | KSL | Sarelli | MG2 | ball_valve_closed | Ball valve position rotating body closed (true if valve is fully closed)
24140 |  | Bool | KSL | Sarelli | MG2 | ball_valve_open | Ball valve position rotating body open (true if valve is fully open)
25120 | % | measurement (analog) | KSL | Sarelli | MG2 | guide_vane_position | Guide vane position measurement
25207 | bar | measurement (analog) | KSL | Sarelli | MG2 | water_pressure_downstream | water pressure downstream of the turbine
25205 | bar | measurement (analog) | KSL | Sarelli | MG2 | water_pressure_upstream | water pressure upstram of the turbine
18263 | MW | measurement (analog) | KSL | Mapragg | MG3 | active_power | Active power measurement
19318 |  | Bool | KSL | Mapragg | MG3 | ball_valve_closed | Ball valve position rotating body closed (true if valve is fully closed)
19317 |  | Bool | KSL | Mapragg | MG3 | ball_valve_open | Ball valve position rotating body open (true if valve is fully open)
21058 | % | measurement (analog) | KSL | Mapragg | MG3 | guide_vane_position | Guide vane position measurement
21145 | bar | measurement (analog) | KSL | Mapragg | MG3 | water_pressure_downstream | water pressure downstream of the turbine
21143 | bar | measurement (analog) | KSL | Mapragg | MG3 | water_pressure_upstream | water pressure upstram of the turbine